## Slide 1: Stormwater Management
Carrie Donohoe and Amanda Gramigna
Project Manager and Associate Director, Environmental Health

## Slide 2: What is Stormwater?
Stormwater originates from rain, snow, or ice melt
What happens to stormwater?
  Infiltrate into soil where it falls (best)
  Accumulate in puddles and evaporate
  Runoff to sewers, streams, lakes etc.

## Slide 3: What happens to Stormwater?
Accumulation
  Can damage infrastructure
  Can obstruct roads
Runoff
  Can clog sewers or drains with debris
  Can cause damage by erosion
Infiltration
  Capture water where it lands
  Filters and replenishes groundwater
  Infiltration is usually the best case

## Slide 4: How is Stormwater Managed?
Green infrastructure- strategic use of land and natural materials
  Rain gardens, bioswales
  Dry wells, stormwater vaults
Grey infrastructure- utilizing human made technology
  Backflow preventers
  Downspout configuration
  Sewer maintenance

## Slide 5: Benefits of good Stormwater Management
Disconnect Downspouts
  Stormwater is managed on property
  Reduce stormwater volume in sewers
Reduce 311/Service calls
  Chatham target area determined by call volume
  Reduce sewer backups
Community Beautification
  Reduce water damage to infrastructure
  Rain gardens look nice!

## Slide 6: How do Stormwater Management Programs Work?

## Slide 7: Chatham Example
Contributing factors to flooding
  Low-lying topography
  Changing climate
  Increasing impervious surfaces
  Aging and undersized infrastructure
Additional factors to consider
  Aging housing stock
  Lower income population
  Older population

## Slide 8: Chatham Example
Program approach
  Free program, up front
  Prescriptive approach
  Pilot period, 20 homes
Program offerings
  Exterior- rain garden, bioswale
  Interior- backflow preventer
    With Injection pump or check valve

## Slide 9: Oak Park Comparison
Similar program, different design
  Newer housing stock
  More affluent community
  Active involvement from the Village of Oak Park
Chatham | Oak Park
Free up front | 50% rebate
Grey infrastructure included | Green infrastructure only
Prescriptive offerings | Flexible offerings
Funded by City of Chicago, with other departments | Funded by VOP

## Slide 10: Questions?

## Slide 11: Contact information
Carrie Donohoe
carrie.donohoe@ElevateNP.org
217-391-4273
Amanda Gramigna
amanda.gramigna@ElevateNP.org
217-391-4273